## CTDI data v1.0 Single filter
CTDI Dose Data required for matching scanners in ImPACT CTDosimetry Calculator
Worksheet for scanners with one beam shaping filter for each of head and body scanning
Please return your data via e-mail to drsig@impactscan.org
PLEASE FILL IN THE FIELDS IN BLUE
Data supplied by:
Contact phone:
Email:
Date:
Scanner manufacturer:
Scanner model:
1. HEAD data
1a. CTDI100,air for different filter and kV combinations, and for each collimation
Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  |  | Temp (°C): |  |  | Pressure (mbar): |  | Overall cal. Factor |  | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | Width1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width8 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
1b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI head phantom (16cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 | Overall cal. Factor |  | #DIV/0!
kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2. BODY data
2a. CTDI100,air |  | Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 | Overall cal. Factor |  | #DIV/0!
kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI body phantom (32 cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 | Overall cal. Factor |  | #DIV/0!
kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Note on H29: i.e. Product of nominal slice width and no. of slices Obtain data for each available beam width. Add extra rows if necessary
Note on A44: Obtain data for each available kV for centre phantom position. For the other cardinal point positions, information is only required at the standard kV e.g. 120 kV
Note on G44: i.e. Product of nominal slice width and no. of slices Obtain data for 10 mm beam width or nearest if 10 mm not available
Note on I44: 2 readings usually sufficient at centre. Number at periphery depends on degree of variation obtained. Recommend obtaining data for multiple rotations at same position to obtain good average value
Note on H44: i.e. Centre, 12, 3, 6 or 9 o'clock (North, East, South or West)
Note on C42: To convert to mGy in air
Note on C20: To convert to mGy in air
Note on C63: To convert to mGy in air
Note on C74: To convert to mGy in air
Note on A65: Obtain data for each available kV.
Note on G65: i.e. Product of nominal slice width and no. of slices Obtain data for each available beam width. Use the beam width closest to 10mm for all other measurements
Note on A76: Obtain data for each available kV for centre phantom position. For the other cardinal point positions, information is only required at the standard kV e.g. 120 kV
Note on G76: i.e. Product of nominal slice width and no. of slices Obtain data for 10 mm beam width or nearest if 10 mm not available
Note on H76: i.e. Centre, 12, 3, 6 or 9 o'clock
Note on A22: Obtain data for each filter used in Head mode E.g. On the GE LightSpeed VCT different beam shaping filters are used for Head and Small head
Note on B22: Obtain data for each available kV.
Note on H22: Product of no. of physical detector rows and width of each detector element. Use value closest to 10 mm for all readings
Note on I22: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on B29: Use value closest to 120kV for this section
Note on A29: Use the routine head filter for this section
Note on I29: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on I76: 2 readings usually sufficient at centre. Number at periphery depends on degree of variation obtained. Recommend obtaining data for multiple rotations at same position to obtain good average value

## CTDI data v1.0 Multi-filter
CTDI Dose Data required for matching scanners in ImPACT CTDosimetry Calculator
Worksheet for scanners with more than one beam shaping filter for each of head and body scanning
Please return your data via e-mail to drsig@impactscan.org
PLEASE FILL IN THE FIELDS IN BLUE
Data supplied by:
Contact phone:
Email:
Date:
Scanner manufacturer:
Scanner model:
1. HEAD data
1a. CTDI100,air for different filter and kV combinations, and for each collimation
Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  |  | Temp (°C): |  |  | Pressure (mbar): |  |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | Width1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width8 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
1b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI head phantom (16cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2. BODY data
2a. CTDI100,air |  | Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI body phantom (32 cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Note on H39: i.e. Product of nominal slice width and no. of slices Obtain data for each available beam width. Add extra rows if necessary
Note on B54: Obtain data for each available kV for centre phantom position. For the other cardinal point positions, information is only required at the standard kV e.g. 120 kV
Note on H54: i.e. Product of nominal slice width and no. of slices Obtain data for 10 mm beam width or nearest if 10 mm not available
Note on J54: 2 readings usually sufficient at centre. Number at periphery depends on degree of variation obtained. Recommend obtaining data for multiple rotations at same position to obtain good average value
Note on I54: i.e. Centre, 12, 3, 6 or 9 o'clock (North, East, South or West)
Note on C52: To convert to mGy in air
Note on C20: To convert to mGy in air
Note on C99: To convert to mGy in air
Note on C120: To convert to mGy in air
Note on B101: Obtain data for each available kV.
Note on H101: i.e. Product of nominal slice width and no. of slices Obtain data for each available beam width. Use the beam width closest to 10mm for all other measurements
Note on A122: Obtain data for each filter used in Body mode E.g. On the GE LightSpeed VCT different beam shaping filters are used for body, large body and cardiac
Note on B122: Obtain data for each available kV for centre phantom position. For the other cardinal point positions, information is only required at the standard kV e.g. 120 kV
Note on H122: i.e. Product of nominal slice width and no. of slices Obtain data for 10 mm beam width or nearest if 10 mm not available
Note on I122: i.e. Centre, 12, 3, 6 or 9 o'clock
Note on A22: Obtain data for each filter used in Head mode E.g. On the GE LightSpeed VCT different beam shaping filters are used for Head and Small head
Note on B22: Obtain data for each available kV.
Note on H22: Product of no. of physical detector rows and width of each detector element. Use value closest to 10 mm for all readings
Note on I22: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on B39: Use value closest to 120kV for this section
Note on A39: Use the routine head filter for this section
Note on I39: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on A101: Obtain data for each filter used in Body mode E.g. On the GE LightSpeed VCT different beam shaping filters are used for body, large body and cardiac
Note on A54: Obtain data for each filter used in Body mode E.g. On the GE LightSpeed VCT different beam shaping filters are used for body, large body and cardiac
Note on J122: 2 readings usually sufficient at centre. Number at periphery depends on degree of variation obtained. Recommend obtaining data for multiple rotations at same position to obtain good average value