## CTDI data v1.0 Single filter
CTDI Dose Data required for matching scanners in ImPACT CTDosimetry Calculator
Worksheet for scanners with one beam shaping filter for each of head and body scanning
Please return your data via e-mail to drsig@impactscan.org
PLEASE FILL IN THE FIELDS IN BLUE
Data supplied by:
Contact phone:
Email:
Date:
Scanner manufacturer:
Scanner model:
1. HEAD data
1a. CTDI100,air for different filter and kV combinations, and for each collimation
Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  |  | Temp (°C): |  |  | Pressure (mbar): |  | Overall cal. Factor |  | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | Width1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width8 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
1b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI head phantom (16cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 | Overall cal. Factor |  | #DIV/0!
kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2. BODY data
2a. CTDI100,air |  | Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 | Overall cal. Factor |  | #DIV/0!
kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI body phantom (32 cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 | Overall cal. Factor |  | #DIV/0!
kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Note on A29: Use the routine head filter for this section
Note on A44: Obtain data for each available kV for centre phantom position. For the other cardinal point positions, information is only required at the standard kV e.g. 120 kV
Note on A65: Obtain data for each available kV.
Note on A76: Obtain data for each available kV for centre phantom position. For the other cardinal point positions, information is only required at the standard kV e.g. 120 kV
Note on B29: Use value closest to 120kV for this section
Note on C42: To convert to mGy in air
Note on G44: i.e. Product of nominal slice width and no. of slices Obtain data for 10 mm beam width or nearest if 10 mm not available
Note on G65: i.e. Product of nominal slice width and no. of slices Obtain data for each available beam width. Use the beam width closest to 10mm for all other measurements
Note on G76: i.e. Product of nominal slice width and no. of slices Obtain data for 10 mm beam width or nearest if 10 mm not available
Note on H29: i.e. Product of nominal slice width and no. of slices Obtain data for each available beam width. Add extra rows if necessary
Note on H44: i.e. Centre, 12, 3, 6 or 9 o'clock (North, East, South or West)
Note on H76: i.e. Centre, 12, 3, 6 or 9 o'clock
Note on I22: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on I29: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on I44: 2 readings usually sufficient at centre. Number at periphery depends on degree of variation obtained. Recommend obtaining data for multiple rotations at same position to obtain good average value
Note on I76: 2 readings usually sufficient at centre. Number at periphery depends on degree of variation obtained. Recommend obtaining data for multiple rotations at same position to obtain good average value

## CTDI data v1.0 Multi-filter
CTDI Dose Data required for matching scanners in ImPACT CTDosimetry Calculator
Worksheet for scanners with more than one beam shaping filter for each of head and body scanning
Please return your data via e-mail to drsig@impactscan.org
PLEASE FILL IN THE FIELDS IN BLUE
Data supplied by:
Contact phone:
Email:
Date:
Scanner manufacturer:
Scanner model:
1. HEAD data
1a. CTDI100,air for different filter and kV combinations, and for each collimation
Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  |  | Temp (°C): |  |  | Pressure (mbar): |  |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | Width1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | Width8 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
1b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI head phantom (16cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2. BODY data
2a. CTDI100,air |  | Axial (not spiral) mode. At isocentre, in air
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV1 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | kV5 |  |  | 0 |  |  | ~10 mm |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2b. CTDI100, phantom |  | Axial (not spiral) mode. In CTDI body phantom (32 cm diameter). Central and periphery positions.
Chamber calibration factor: |  |  | 0 | Temp (°C): | 0 |  | Pressure (mbar): | 0 |  | Overall cal. Factor | #DIV/0!
Mode (Filter) | kV | mA | Rotation time (s) | mAs | No. physical detector rows | Width of each detector row (mm) | Total Beam Width (mm) | Position in phantom | Readings (air Kerma - mGy) |  |  | Mean reading | CTDI100,air (mGy) | CTDI100,air (mGy/100 mAs)
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 1 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 2 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | East |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | South |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | ~120 |  |  | 0 |  |  | ~10 mm | West |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV2 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV3 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV4 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | Centre |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Filter 3 | KV5 |  |  | 0 |  |  | ~10 mm | North |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Note on B122: Obtain data for each available kV for centre phantom position. For the other cardinal point positions, information is only required at the standard kV e.g. 120 kV
Note on C52: To convert to mGy in air
Note on H39: i.e. Product of nominal slice width and no. of slices Obtain data for each available beam width. Add extra rows if necessary
Note on H122: i.e. Product of nominal slice width and no. of slices Obtain data for 10 mm beam width or nearest if 10 mm not available
Note on I22: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on I39: 2 readings usually sufficient in air and at centre of phantom. Values at phantom periphery can vary depending on x-ray start position, so recommend 4, separated by n and a half rotations (e.g. for 1 second rotation, get 4 readings with 10.5 second interval)
Note on I122: i.e. Centre, 12, 3, 6 or 9 o'clock